## Sheet1
Applies to all resources | Logic/Check | Inputs | Intent | Action for RT | DA/RT or Both
| Is the resource following dispatch. Small % bufferfor data issues and only flag after 3 5 min intervals, ignore if awarded REG | Awards, and Gen to POI | Check if resource is not following dispatch before CAISO calls | If it is related to SOC at zero and an award durring non-solar hours, put in an outage card, otherwise contact the plant. | RT
| Is the BESS cycling. | SOC | Check that the battery is bieng charged and discharged throughout the day | Check if this is related to a outage, otherwise ping the DA market team | RT
| Curtailment | VER = GEN roughly | Check if resources are being curtailed | NA | RT
| Is SOC above/below SOC min/max targets | Stora Live feeds from plant | Check if the model is routinely exceeding targets | NA | DA
| Is PV Curtailment happening when prices are above curtailment price | RT bids, RT market prices, VER capacity, PV gen | Check if uneconomic curtailment is happening | Contact DA Org Market Team | RT
| Are any bids invalid | Bid statuses returned from the market | Make sure STORA is creating feasible bids | Contact DA Org Market Team | Both
| Are bids being updated/created/submitted 6 hours forward | Bid statuses returned from the market | Make sure STORA is updating bids | Contact DA Org Market Team | RT
| Is point data out of allowed range of outcomes | Point data | See if bad input data is leading to bad optimization outcomes
| Is STORA optimizing DA products (DA Energy, Capacity) vs RT energy prices with correct assumptions | LMP data vs hindsight analysis | Validating that optimization is within respectable results
| Did the resource charge from grid | Charge Energy vs VER-directly to grid energy | Check if resource is doing grid charging before bills or plant calls it out
| Accuracy of LMP forecast | LMP data vs Real Prices | See if STORA is doing a good job forecasting prices as it uses that to optimize | NA | DA
Resource specific Rules
ARCATA_6_FCPSB1 |  |  |  |  | DA
ARCATA_6_FCPSB2
DSFLWR_2_W9CSB2
| Is the full capacity of the resource being offered to the market | Highest segment of DA bids in each hour | RA bidding rule compliance | NA | DA
| Is the full capacity of DAME products being offered to the market | IRU IRD RCU RCD | RA bidding rule compliance | NA
JANCRK_6_RCABT1
PUTHCR_1_PCNSB1
| Is the full capacity of the resource being offered to the market | Highest segment of DA bids in each hour | RA bidding rule compliance | NA | DA
| Is the full capacity of DAME products being offered to the market | IRU IRD RCU RCD | RA bidding rule compliance | NA
KRAMER_1_R1BX3
| Is the full capacity of the resource being offered to the market | Highest segment of DA bids in each hour | RA bidding rule compliance | NA | DA
| Is the full capacity of DAME products being offered to the market | IRU IRD RCU RCD | RA bidding rule compliance | NA
KRAMER_1_R1PX3
| Is any price segment positive? | BIds | Check for sign fip on curtailment price | Contact DA Org Market Team | Both
| Is the full capacity of DAME products being offered to the market | IRU IRD RCU RCD | RA bidding rule compliance | NA
RSMNDS_2_CSRBT1
| Is the full capacity of the resource being offered to the market | Highest segment of DA bids in each hour | RA bidding rule compliance | NA | DA
| Is the full capacity of DAME products being offered to the market | IRU IRD RCU RCD | RA bidding rule compliance | NA
RSMNDS_2_CSRSR1
| Is any price segment positive? | BIds | Check for sign fip on curtailment price | Contact DA Org Market Team | Both
| Is the full capacity of DAME products being offered to the market | IRU IRD RCU RCD | RA bidding rule compliance | NA
SANDRN_2_SS1BT1
| Is the full capacity of the resource being offered to the market | Highest segment of DA bids in each hour | RA bidding rule compliance | NA | DA
| Is the full capacity of DAME products being offered to the market | IRU IRD RCU RCD | RA bidding rule compliance | NA
SANDRN_2_SS1SR1
| Is any price segment positive? | BIds | Check for sign fip on curtailment price | Contact DA Org Market Team | Both
| Is the full capacity of DAME products being offered to the market | IRU IRD RCU RCD | RA bidding rule compliance | NA
Colocated PV
Colocated BESS
Hybrid